## Linear Equation Formula
Use of Linear Equation Formula
Known Protein Concentration (g/L) | Absorbance at 610 nm
10 | 0.222
20 | 0.417
30 | 0.758
40 | 1.26
50 | 1.399
60 | 1.575
m | 0.0292
c | -0.0828
Unknown Sample Concentration | Unknown Sample Absorbance
32.2534 | 0.859

## TREND
Use of TREND Function
Known Protein Concentration (g/L) | Absorbance at 610 nm
10 | 0.222
20 | 0.417
30 | 0.758
40 | 1.26
50 | 1.399
60 | 1.575
Unknown Sample Concentration | Unknown Sample Absorbance
32.3612 | 0.859